## Sheet1
filename | number
CE_DECIVE_PE_TRANSFORM_DEVICE_20260121.csv | 1821
CE_DEVICE_PE_BATTERY_LA_20260121.csv | 25110
CE_DEVICE_PE_BATTERY_LI_20260121.csv | 66215
CE_DEVICE_PE_BB_20260121.csv | 74
CE_DEVICE_PE_CACH_20260121.csv | 129
CE_DEVICE_PE_CACH_END_20260121.csv | 1007
CE_DEVICE_PE_ESS_20260121.csv | 0
CE_DEVICE_PE_HES_20260121.csv | 1845
CE_DEVICE_PE_HIGH_DC_DISTRIBUTION_20260121.csv | 127
CE_DEVICE_PE_HIGH_DISTRIBUTION_20260121.csv | 1080
CE_DEVICE_PE_HIGH_POWER_20260121.csv | 31
CE_DEVICE_PE_HIROSS_20260121.csv | 3616
CE_DEVICE_PE_IAC_20260121.csv | 7301
CE_DEVICE_PE_LOW_AC_DISTRIBUTION_20260121.csv | 39527
CE_DEVICE_PE_LOW_DC_DISTRIBUTION_20260121.csv | 6560
CE_DEVICE_PE_MONITOR_20260121.csv | 16816
CE_DEVICE_PE_NA_20260121.csv | 24720
CE_DEVICE_PE_OTHER_20260121.csv | 5993
CE_DEVICE_PE_POWER_GENERATION_20260121.csv | 5468
CE_DEVICE_PE_ROOM_ENVIRONMENT_20260121.csv | 96127
CE_DEVICE_PE_SMART_METER_20260121.csv | 14621
CE_DEVICE_PE_SWITCH_POWER_20260121.csv | 40298
CE_DEVICE_PE_TRANSFORM_20260121.csv | 3005
CE_DEVICE_PE_UPS_20260121.csv | 3008
CE_DEVICE_PE_UPS_AC_DISTRIBUTION_20260121.csv | 1976
CE_DEVICE_PE_WPC_20260121.csv | 1
CE_LINK_PE_IN_20260121.csv | 23031
CE_LINK_PE_OUT_20260121.csv | 61926
CE_NET_PE_CACH_20260121.csv | 73
CE_NET_PE_HIGH_DISTRIBUTION_20260121.csv | 252
CE_NET_PE_HIGH_POWER_20260121.csv | 26
CE_NET_PE_LOW_DISTRIBUTION_20260121.csv | 26311
CE_NET_PE_OPEN_POWER_20260121.csv | 34678
CE_NET_PE_SWITCH_POWER_20260121.csv | 2161
CE_NET_PE_UPS_20260121.csv | 2721
PHYSICAL_STATION_20260121.csv | 203703
RM_AREA_RACKPOS_20260121.csv | 179827
RM_AREA_RESPOINT_20260121.csv | 1126991
RM_AREA_ROOM_20260121.csv | 252440
RM_AREA_SITE_20260121.csv | 254191
RM_ROOM_PROPERTY_20260121.csv | 33601
RM_SITE_PROPERTY_20260121.csv | 32853

## Sheet2
filename | 字段
CE_DECIVE_PE_TRANSFORM_DEVICE_20260121.csv | res_code | province_id | city_id | county_id | related_site | related_room | device_type | device_subclass | zh_label | device_code | product_name | vendor_id | rated_input_voltage | rated_output_voltage | output_type | total_loading_modules_number | total_match_modules_number | single_module_output_current | start_time | estimated_retirement_time | lifecycle_status | maintainor | qualitor | qr_code_no | power_device_name | power_device_id | sn | device_brand | rack_poi_uuid | one_module_rated_capacity | accept_date | asset_code | power_site_level | gx_power_site_level | serial_number | upper_device_name | project_no | project | asset_name | power_room_type | upper_device_type | power_monitor_dev_name | power_monitor_dev_code | task_name | maintenance_team | data_maintainor | remark | create_by | create_time | update_by | update_time | project_name | project_uuid | day
| 03689da1fd2343ba997014703f86159a | 广西 | 南宁 | 武鸣区 | SITE-B1792C2521584CF6E04400E0ED126F6F | ROOM-B1792C25CBC14CF6E04400E0ED126F6F | 变换设备 | 逆变器 | 施威特克逆变器1 | 140100000000001 | 电源转换器-48V→12V | 杭州施威特克电源有限公司 | -48V | 220V | 交流 | 1 | 1 | 50 | 2011-10-31 | 2019-10-31 | 现网 |  | 吴达敏 | 2401745080101245412524 | 施威特克逆变器1 | 4703f86159a | 1 | 施威特克 |  | 50 |  | 3321-00174919 | 通信基站 | 普通基站 |  | 中达低压交流配电柜2/1 |  |  |  | 基站机房 | 低压交流配电 | 南宁武鸣县太平镇庆乐村基站无线机房-逆变器-1 | 1001000001 |  | 移动-南宁-工程中心-LTE室分班组 | 吴达敏 |  | wudamin | 2023-06-13 10:53:34 | admin | 2023-11-22 18:07:40 |  |  | 2026-01-21
CE_DEVICE_PE_BATTERY_LA_20260121.csv | res_code | related_site | related_room | zh_label | device_code | device_brand | vendor_uuid | product_name | lifecycle_status | start_time | estimated_retirement_time | ralated_power_device | cell_voltage_level | total_monomers_number | rated_capacity | charge_factor | whether_battery_grounded | supplier | accept_date | manage_company | factory_number | device_subclass | sn | province_id | city_id | device_type | county_id | sys_no_name | sys_no_uuid | system_no | power_device_room | single_group_capacity | maintainer_person | serial_number | asset_code | asset_name | project_name | backup_time | rack_poi_uuid | battery_type | coding_suffix | property_right | grid | ems_dev_name | batteries_estcap | batteries_realcap | load_current | btssite_no | distance_time | whether_standard_conf | mindura_of_oilengine | upper_device_name | power_monitor_dev_code | power_monitor_dev_name | power_room_type | gx_power_site_level | site_major_level | upper_device_type | qr_code | maintenance_team | task_name | create_by | update_by | create_time | update_time | qualitor | data_maintainor | project_no | day
| 00370b4d7bc0457887ccf38712cd7bcb | SITE-1611f320eca7465782535005315de9bd | ROOM-6fb1694d6cf846b6bf7e395bf8633bb4 | 双登开关电源铅酸电池12/1 | 070200001000012 | 双登 | 江苏双登集团有限公司 | GFM-200 | 退网 | 2017-06-30 | 2023-06-30 | T_PHY_COM_POWER_SMPS-e481fb18bde041d18c417153e62fcd86 | 12V | 24 | 200 |  |  |  | 2017-06-30 00:00:00 |  |  | 开关电源铅酸电池 | 12 | 广西 | 南宁 | 铅酸电池 | 隆安 | 维谛技术开关电源系统1 | 54001 | 1 | 南宁隆安县东森悦府传输机房 | 200 | 梁田 |  | 3321-B0246314 | 蓄电池 |  |  |  | 基础电池组 | [11 empty] | 维谛技术组合开关电源1/1 | 070200001000012 | 南宁隆安县东森悦府-开关电源系统-1-开关电源铅酸电池-12 | 传输机房 | 县城普通汇聚机房 | 传输节点 | 开关电源 | 2401714080134347385259 | 南宁-润建-横县维护站-无线班组1 |  | duruosheng | duruosheng | 2022-09-27 11:34:00 | 2025-12-18 17:44:36 | 梁田 | 梁田 |  | 2026-01-21
CE_DEVICE_PE_BATTERY_LI_20260121.csv | res_code | related_site | related_room | zh_label | device_code | device_brand | vendor_uuid | product_name | lifecycle_status | start_time | estimated_retirement_time | ralated_power_device | cell_voltage_level | total_monomers_number | rated_capacity | county_id | device_subclass | sn | power_device_room | single_group_capacity | project_name | upper_device_name | power_monitor_dev_code | power_monitor_dev_name | gx_power_site_level | serial_number | province_id | city_id | device_type | maintainer_person | asset_code | backup_time | rack_poi_uuid | sys_no_name | system_no | sys_no_uuid | asset_name | power_room_type | site_major_level | qr_code | upper_device_type | task_name | maintenance_team | create_by | update_by | create_time | update_time | qualitor | data_maintainor | project_no | battery_type | day
| 00406a192bc440eba4b760fd9f02120e | SITE-8a3817821891af080118a22ba8ed77da | ROOM-8a38178620c6807c0120c698da070df0 | 力朗开关电源锂电池1/2 | 680200002000001 | 力朗 | 东莞力朗电池科技有限公司 | LFP-48100-01 | 工程 | 2025-08-19 | 2035-08-19 | 794973ce1a964f7eaf5b0627a33bd444 | 48V | 4 | 100 | 平南 | 开关电源锂电池 | 1 | 贵港平南县大安镇稻花村基站无线机房 | 400 |  | 中达组合开关电源2/2 | 6802000001 | 贵港平南县大安镇稻花村-开关电源系统-2-开关电源锂电池-1 | 普通基站 |  | 广西 | 贵港 | 锂电池 | 潘乐 |  |  |  | 维谛技术开关电源系统2 | 2 | 54002 |  | 基站机房 | 通信基站 | 24071752080361473986348 | 开关电源 |  | 贵港-中通一局-平南县维护站-无线班组1 | ruanmeining | ruanmeining | 2025-08-25 08:39:29 | 2025-12-26 17:05:43 | 刘太闪 | 潘乐 |  | 磷酸铁锂 | 2026-01-21
CE_DEVICE_PE_BB_20260121.csv | res_code | province_id | city_id | county_id | related_site | related_room | device_type | device_subclass | zh_label | device_code | device_number | product_name | vendor_id | device_brand | site_major_level | gx_power_site_level | power_room_type | power_monitor_dev_code | power_monitor_dev_name | upper_device_type | coding_suffix | upper_port_uuid | asset_name | serial_number | maintainer_person | rack_poi_uuid | lifecycle_status | start_time | estimated_retirement_time | rated_cooling_capacity | rated_input_power | rated_operating_voltage | upper_dev_name | supplier | accept_date | manage_company | asset_code | factory_number | property_right | grid | ems_dev_name | task_name | qr_code | maintenance_team | upper_device_name | qualitor | data_maintainor | create_by | create_time | update_by | update_time | project_uuid | project_name | day
| 5baab9d81c264d8482e77c01a65dbb1b | 广西 | 河池 | 巴马 | SITE-8a3817821aa590b8011afc6e44cc0626 | ROOM-8a3817821aa590b8011afc6e887e06a1 | 电池恒温箱 | 电池恒温箱 | 施威特克电池恒温箱1 | 180100000000001 | 1 | 基站电池恒温箱（室外型） | 杭州施威特克电源有限公司 | 施威特克 | 通信基站 | 普通基站 | 基站机房 | 1801000001 | 河池巴马县西山乡坡林村基站无线机房-电池恒温箱-1 | 低压交流配电 |  |  |  |  | 严鸣 |  | 退网 | 2011-12-31 | 2021-12-31 | 6 | 2.40 | 380V | 德力西市电交流配电箱71/70 | [9 empty] | 2406427080314577573569 | 河池-宜通-巴马县维护站-无线班组 | 德力西市电交流配电箱71/70 | 严鸣 | 韦静静 | weijingjing | 2024-07-30 19:10:46 | weijingjing | 2024-07-30 19:10:46 |  |  | 2026-01-21
CE_DEVICE_PE_CACH_20260121.csv | res_code | related_site | related_room | zh_label | device_type | device_subclass | device_code | device_brand | vendor_id | sys_no_name | sys_no_uuid | lifecycle_status | start_time | estimated_retirement_time | rated_input_power | rated_operating_voltage | customized_heat | outdoor_model | outdoor_factory_no | supplier | accept_date | manage_company | factory_number | asset_code | upper_device_name | work_mode | grid | ems_dev_name | asset_name | system_sn | is_handover | tower_handover_state | maintain_type | cold_storage_tank_capacity | property_right | serial_number | project_name | coding_suffix | upper_device_type | power_monitor_dev_code | power_monitor_dev_name | power_room_type | gx_power_site_level | site_major_level | product_name | maintain_person | maintainer_person | province_id | city_id | county_id | sn | rack_poi_uuid | host_cooling_capacity | property_right_unit | qr_code | cooling_tower_heat_output | task_name | maintenance_team | customized_cooling_capacity | create_by | create_time | update_by | update_time | data_maintainor | day
| 09c971ac105246ba8e4d8a1c1f3f10e0 | SITE-8a38178229f4b2a1012a11bf1414054b | ROOM-8a38178229f4b2a1012a11c0c5a10553 | 华德工业多联机中央空调402/1 | 中央空调主机 | 多联机中央空调 | 130100001000402 | 华德工业 | 广州市华德工业有限公司 | 华德工业中央空调系统1 | 57001 | 工程 | 2023-04-30 | 2033-04-30 | 9.0 | 380V |  |  |  |  | 2023-05-06 18:02:36 |  |  |  | 珠江电信低压交流配电柜24/1 | 其他 |  |  |  | 1 |  |  |  |  | 中国移动 |  |  |  | 低压交流配电 | 1301000402 | 南宁608厂第三生产楼-中央空调系统-1-多联机中央空调-402 | 综合机房 | 通信机楼 | 通信枢纽楼 | WLNC400G8-B | 何新际 | 何新际 | 广西 | 南宁 | 兴宁区 | 402 |  |  |  | 2401857080249032340415 | 400.0 |  | 移动-南宁市-动力班组 |  | wujialiang1 | 2023-05-06 18:02:14 | duruosheng | 2025-12-17 17:01:23 | 李庆春 | 2026-01-21
CE_DEVICE_PE_CACH_END_20260121.csv | res_code | related_room | zh_label | sn | device_subclass | device_code | device_brand | vendor_id | lifecycle_status | start_time | estimated_retirement_time | maintainer_person | rated_input_power | rated_operating_voltage | accept_date | asset_code | upper_device_name | asset_name | sys_no_name | system_sn | sys_no_uuid | is_handover | tower_handover_state | maintain_type | serial_number | project_name | upper_device_type | power_monitor_dev_code | power_monitor_dev_name | power_room_type | gx_power_site_level | county_id | site_major_level | qr_code | province_id | city_id | related_site | maintenance_team | product_name | device_type | property_right_unit | property_right | task_name | rack_poi_uuid | customized_cooling_capacity | create_by | create_time | update_by | update_time | data_maintainor | project_no | day
| 03e5d0a9f6684bd49636597550ea96d0 | SITE-151232bdeb24468e8cca57c1ce90e22e | 广东海悟列间空调2242/1 | 2242 | 列间空调 | 120500001002242 | 广东海悟 | 广东海悟科技有限公司 | 现网 | 2021-09-30 | 2031-09-30 | 何新际 | 0.45 | 220V | 2021-09-30 00:00:00 | 033321G00005113 | 汉舟低压交流配电柜2201/5 |  | 美的中央空调系统1 | 1 | 57001 | [5 empty] | 低压交流配电 | 1205002242 | 南宁良庆区广西数据中心1#楼-中央空调系统-1-列间空调-2242 | IDC机房 | 数据中心 | 良庆区 | 数据中心 | 2401837080371724834775 | 广西 | 南宁 | SITE-151232bdeb24468e8cca57c1ce90e22e | 移动-南宁市-动力性能班组 | CRC0040 | 中央空调末端 |  | 中国移动 |  |  |  | duruosheng | 2023-03-09 11:36:48 | qinchanghao | 2023-10-09 11:06:17 | 刘良文 |  | 2026-01-21
CE_DEVICE_PE_HES_20260121.csv | res_code | related_room | related_site | zh_label | device_code | device_brand | vendor_id | product_name | lifecycle_status | start_time | estimated_retirement_time | rated_cooling_capacity | rated_input_power | rated_operating_voltage | county_id | supplier | accept_date | manage_company | factory_number | device_subclass | device_number | maintainer_person | serial_number | asset_name | upper_port_uuid | device_air_supply | coding_suffix | upper_dev_name | upper_device_type | power_monitor_dev_code | power_monitor_dev_name | power_room_type | gx_power_site_level | asset_code | property_right | grid | ems_dev_name | site_major_level | maintenance_team | maintain_person | qr_code | province_id | city_id | device_type | rack_poi_uuid | task_name | upper_device_name | qualitor | data_maintainor | create_by | create_time | update_by | update_time | project_uuid | project_name | day
| 00ab4b88dbb34cd4a12048bbe85cf08b | ROOM-8a3817862973c6a80129819cd0cc17d1 | SITE-8a3817862973c6a80129818eeffd1786 | 美的智能通风系统1 | 770100000000001 | 美的 | 美的集团 | D1700基站节能型智能通风空 | 现网 | 2012-06-21 | 2022-06-21 | 1 | 1.00 | 220V | 岑溪 |  | 2024-10-22 08:49:03 | 中富通 |  | 智能通风系统 | 1 | 覃泽鹏 |  | 其他空气调节设备 |  |  |  | 良机逆流冷却塔2/1 | 中央空调主机 | 7701000001 | 梧州岑溪市南渡镇社垌基站无线机房-智能通风系统-1 |  |  |  | 中国移动 |  |  |  | 梧州-中富通-岑溪维护站-无线班组1 | 覃泽鹏 | 24091255080293260110247 | 广西 | 梧州 | 智能通风换热 |  | 10年智能通风系统工程 | 良机逆流冷却塔2/1 | 覃泽鹏 | 覃泽鹏 | luyanyu | 2024-10-22 08:47:25 | qinzepeng | 2024-10-22 08:49:03 |  |  | 2026-01-21
CE_DEVICE_PE_HIGH_DC_DISTRIBUTION_20260121.csv | res_code | province_id | city_id | county_id | related_site | related_room | device_type | device_subclass | zh_label | device_code | product_name | vendor_id | related_system | reted_capacity | total_input_port | total_onput_port | start_time | estimated_retirement_time | lifecycle_status | maintainor | qualitor | qr_code_no | power_device_name | power_device_id | sn | device_brand | sys_no_uuid | sys_sequence_no | serial_number | asset_code | asset_name | project_no | project | rack_poi_uuid | upper_device_name | upper_device_type | monitoring_system_dev_code | power_monitor_dev_name | gx_power_site_level | power_site_level | power_room_type | task_name | maintain_team | data_maintainor | create_by | create_time | update_by | update_time | project_name | project_uuid | day
| 8ed05655332e497fbcb59154a4be0213 | 广西 | 南宁 | 良庆区 | SITE-e212790d07b04ff8b79c76e59cd2218f | ROOM-148a8c08bf844960a27d72b81665a770 | 高压直流配电 | 240V直流列头柜 | 香江240V直流列头柜2304/1 | 880200001002304 | MMS | 江苏香江科技股份有限公司 | 363eb4123904444f9279362cdae904b6 | 800 | 2 | 3 | 2024-12-23 | 2039-12-23 | 现网 | 梁宇琪 | 沈文彬 | 2401837080409540892088 | 香江240V直流列头柜2304/1 | 154a4be0213 | 2304 |  | 55001 | 1 | [6 empty] | 中恒分立高压直流电源2601/1 | 高压直流电源 | 8802002304 | 南宁良庆区广西数据中心2#楼-高压直流系统-1-240V直流列头柜-2304 | 数据中心 | 数据中心 | IDC机房 |  | 移动-南宁市-动力性能班组 |  | qinchanghao | 2022-12-22 11:25:45 | shenwenbin | 2025-09-01 17:21:58 |  |  | 2026-01-21
CE_DEVICE_PE_HIGH_DISTRIBUTION_20260121.csv | res_code | province_id | city_id | county_id | related_site | related_room | device_type | device_subclass | zh_label | device_code | product_name | vendor_id | related_system | reted_capacity | start_time | estimated_retirement_time | lifecycle_status | maintainor | qualitor | qr_code_no | power_device_name | power_device_id | sn | device_brand | factory_number | sys_no_uuid | sys_no_name | sys_no_num | serial_number | asset_code | asset_name | project_no | project | task_name | rack_poi_uuid | bus_section | capacity_of_one_capacitor | each_capacitors_group_num | capacitor_group | data_maintainor | coding_suffix | accept_date | supplier | manage_company | total_exp_ports | property_right | grid | maintenance_team | ems_dev_name | sys_rated_capacity | upper_device_name | upper_device_type | monitoring_system_dev_code | power_monitor_dev_name | power_room_type | gx_power_site_level | power_site_level | create_by | create_time | update_by | update_time | project_name | project_uuid | day
| 0174b459f72b46678e703f2495da322e | 广西 | 柳州 | 鱼峰区 | be913f8e4b094d278dca63138569b8ab | 185eb57ba78e4426a4bad5710654494b | 高压配电 | 高压隔离柜 | 施耐德高压隔离柜28/2 | 010400002000028 | RM6-S-NE-OI | 施耐德电气信息技术(中国)有限公司 | 0efadebbbcbf42f5810aa0ad105be207 | 630 | 2024-04-01 | 2039-04-01 | 工程 | 李遇福 | 王婷 | 2403328080015346128049 | 施耐德高压隔离柜28/2 | f2495da322e | 28 |  |  | 51002 | 施耐德高压配电系统2 | 2 | [5 empty] | 柳州洛维二期数据中心设备 | [7 empty] | 2024-06-24 18:15:46 |  |  | 1 |  |  | 移动-柳州市-动力维护班组 |  | 630 | 施耐德高压隔离柜26/2 | 高压配电 | 0104000028 | 柳州鱼峰区洛维数据中心二号楼-高压配电系统-2-高压隔离柜-28 | 电力机房 | 数据中心 | 数据中心 | jianghaiyun | 2024-06-24 18:15:12 | wangting | 2025-05-22 18:11:27 | 中国移动广西公司柳州洛维数据中心2#机楼机电工程高低压单项工程 | C23303322DC8002 | 2026-01-21
CE_DEVICE_PE_HIGH_POWER_20260121.csv | res_code | province_id | city_id | county_id | related_site | related_room | device_type | device_subclass | zh_label | device_code | product_name | vendor_id | related_system | rated_output_voltage | monitoring_module_model | total_rack_loading_modules | total_rack_match_modules | signal_output_rated_capacity | start_time | estimated_retirement_time | lifecycle_status | maintainor | qualitor | qr_code_no | power_device_name | power_device_id | device_brand | sys_no_num | sn | serial_number | asset_code | upper_device_name | asset_name | project_no | project | task_name | rack_poi_uuid | accept_date | maintenance_team | upper_device_type | monitoring_system_dev_code | power_monitor_dev_name | power_room_type | gx_power_site_level | power_site_level | related_system_code | data_maintainor | create_by | create_time | update_by | update_time | project_name | project_uuid | day
| T_PHY_COM_POWER_SMPS_HVDC-ff8080816d7cb255016d7d78a2ac03dc | 广西 | 南宁 | 西乡塘区 | SITE-ff8080815f04e57101600c12c6bd4fd8 | ROOM-ff8080815f04e57101600c12d2e54fe3 | 高压直流开关电源 | 分立高压直流电源 | 维谛技术分立高压直流电源706/76 | 870100076000706 | NetSoure HVT E02 CN1-Y1 | 维谛技术有限公司 | T_PHY_COM_POWER_SYS_S-ff8080816d7cb255016d7d77756a03d0 | 240V | M822E | 24 | 24 | 37 | 2018-12-01 | 2028-12-01 | 现网 | 曾毓有13707719989 | 沈文彬 | 2401868080414684285425 | 维谛技术分立高压直流电源706/76 | HVDC-ff8080816d7cb255016d7d78a2ac03dc | 维谛技术 | 76 | 706 |  | 303321G00092075 | 华自科技低压出线柜202/5 | 高压配电 |  |  |  | T_PHY_SHELFRACK_UNIT-790766c052734fdbba1afd14a2654721 | 2018-12-01 00:00:00 | 移动-南宁市-动力性能班组 | 低压交流配电 | 8701000706 | 南宁高新第一生产楼-高压直流系统-76-分立高压直流电源-706 | 电力机房 | 通信机楼 | 通信枢纽楼 | 55076 | 马朝志 | zengyuyou | 2019-09-29 22:42:01 | shenwenbin | 2025-10-30 16:17:50 |  |  | 2026-01-21
CE_DEVICE_PE_HIROSS_20260121.csv | res_code | related_site | related_room | zh_label | sn | device_type | device_subclass | device_code | device_brand | vendor_id | lifecycle_status | start_time | estimated_retirement_time | rated_input_power | rated_operating_voltage | customized_heat | county_id | outdoor_model | outdoor_factory_no | supplier | accept_date | manage_company | factory_number | asset_code | upper_device_name | work_mode | grid | ems_dev_name | asset_name | tower_handover_state | maintain_type | serial_number | is_handover | project_name | coding_suffix | upper_device_type | power_monitor_dev_code | power_monitor_dev_name | power_room_type | gx_power_site_level | site_major_level | qr_code | maintainer_person | product_name | province_id | city_id | rack_poi_uuid | property_right | property_right_unit | maintain_person | task_name | maintenance_team | customized_cooling_capacity | create_by | create_time | update_by | update_time | data_maintainor | project_no | day
| 02e3045682b74352a6b5408575482767 | SITE-8a381786208da9010120a49596982998 | ROOM-54b8b5978ec5424085753fe8b4e5bb80 | 广东海悟风冷专用空调63 | 63 | 机房专用空调 | 风冷专用空调 | 110100000000063 | 广东海悟 | 广东海悟科技有限公司 | 现网 | 2020-09-15 | 2028-09-15 | 10.5 | 380V | 0.0 | 港口区 |  |  |  | 2020-10-15 09:31:09 |  |  | 5 | 维谛技术空调配电柜1/2 | [10 empty] | 低压交流配电 | 1101000063 | 防城港港口区渔洲坪生产楼四楼IDC2机房-风冷专用空调-63 | IDC机房 | 通信机楼 | 通信枢纽楼 | 24141313080252060737446 | 李幸 | CRA3035 | 广西 | 防城港 |  |  |  | 李幸 |  | 移动-防城港市-动力班组 | 36 | zhongquan | 2022-09-26 17:27:01 | zhongquan | 2025-10-28 15:25:07 | 钟泉 |  | 2026-01-21
CE_DEVICE_PE_IAC_20260121.csv | res_code | province_id | city_id | county_id | related_site | related_room | device_type | device_subclass | zh_label | device_number | device_code | vendor_id | serial_number | product_name | asset_code | start_time | estimated_retirement_time | lifecycle_status | maintainer | device_add | rated_power | gx_power_site_level | maintain_vendor | property_right | ems_dev_name | coding_suffix | manage_company | factory_number | accept_date | supplier | device_brand | grid | site_major_level | power_room_type | maintain_person | qr_code | rack_poi_uuid | task_name | maintenance_team | qualitor | data_maintainor | create_by | update_by | create_time | update_time | power_monitor_dev_name | monitoring_system_no | project_uuid | project_name | day
| 01489d4fadc2469e8663700ed3ed338a | 广西 | 桂林 | 灌阳 | 928d5c8e8a394467ab046e4889ad1c73 | efa280707751436f9444ecdda4adb41f | 智能门禁 | 智能门禁 | 维谛技术智能门禁1 | 1 | 930100000000001 | 维谛技术有限公司 |  | GXX-MJ |  | 2023-05-06 | 2031-05-06 | 工程 | 李建军 |  |  | 乡镇普通汇聚机房 | [6 empty] | 2023-06-19 09:55:10 |  | 维谛技术 |  | 传输节点 | 汇聚机房 | 李建军 | 240213080441572946301 |  |  | 移动-桂林市-动力班组 | 粟树华 | 粟树华 | weiyu7 | sushuhua | 2023-06-19 09:54:58 | 2023-10-09 11:06:17 | 桂林灌阳县文市镇普通传输机房-智能门禁-1 | 9301000001 |  |  | 2026-01-21
CE_DEVICE_PE_LOW_AC_DISTRIBUTION_20260121.csv | res_code | zh_label | related_room | related_site | device_type | device_subclass | sn | device_code | device_brand | vendor_id | product_name | sys_no_name | sys_no_uuid | sys_sequence_no | related_rackpos | lifecycle_status | start_time | estimated_retirement_time | rated_capacity | imp_ports | total_onput_port | device_spd_trademark | spd_max_flux | province_id | city_id | county_id | capacity_of_one_capacitor | capacitor_group | each_capacitors_group_num | switch_object | supplier | accept_date | manage_company | factory_number | asset_code | maintainor | qr_code_no | upper_device_name | gx_power_site_level | maintain_person | high_low_type | coding_suffix | power_site_level | serial_number | bus_section | project_name | grid | property_right | ems_dev_name | power_room_type | monitoring_system_dev_code | power_monitor_dev_name | upper_device_type | asset_name | maintenance_team | task_name | qualiter | data_maintainor | create_by | create_time | update_by | update_time | project_uuid | power_device_name | day
| 00070338015a43c69e140e3baa679e48 | 动力源低压交流配电柜1/1 | ROOM-6b9090bbc5604cdaa8d3bf0956f17f33 | SITE-b3ba9b9e9c4544b4b549bff0c5c2c0c6 | 低压交流配电 | 低压交流配电柜 | 1 | 021200001000001 | 动力源 | 北京动力源科技股份有限公司 | AC380VDC-48V满配150A | 动力源开关电源系统1 | 54001 | 1 |  | 现网 | 2020-02-21 | 2035-02-21 | 50 |  | 2 |  |  | 广西 | 南宁 | 邕宁区 | [9 empty] | 吴达敏 | 2401707080024100177173 |  | 普通基站 | 吴达敏 |  |  | 通信基站 | [6 empty] | 基站机房 | 0212000001 | 南宁邕宁区民族中学龙华西校区室分-开关电源系统-1-低压交流配电柜-1 |  |  | 南宁-润建-西乡塘区维护站-无线班组2 |  | 韦成威 |  | wudamin | 2023-11-29 15:50:48 | yx_weihu | 2024-02-18 12:20:42 |  | 动力源低压交流配电柜1/1 | 2026-01-21
CE_DEVICE_PE_LOW_DC_DISTRIBUTION_20260121.csv | res_code | province_id | city_id | county_id | related_site | related_room | device_type | device_subclass | zh_label | device_code | product_name | vendor_id | related_system | reted_capacity | total_input_port | total_onput_port | start_time | estimated_retirement_time | lifecycle_status | maintainor | qualitor | related_rackpos | qr_code_no | power_device_name | power_device_id | sn | device_brand | sys_no_uuid | sys_sequence_no | serial_number | asset_code | asset_name | project_uuid | project_name | task_name | high_low_type | coding_suffix | maintain_person | factory_number | accept_date | supplier | manage_company | property_right | grid | ems_dev_name | upper_device_name | upper_device_type | monitoring_system_dev_code | power_monitor_dev_name | power_room_type | gx_power_site_level | power_site_level | maintenance_team | data_maintainor | create_by | create_time | update_by | update_time | item_name | item_uuid | day
| 0080ecd280184b3eb1e4745a3a41578d | 广西 | 崇左 | 大新 | SITE-8a3817822c63bd94012ce3c4276b1e5a | ROOM-8a3817822c63bd94012ce3c46b621e5c | 低压直流配电 | -48V直流列头柜 | 深圳科信-48V直流列头柜30/1 | 040300001000030 | DPF-48v/200A-G-S | 深圳市科信通信技术股份有限公司 | 1375a6d9d17c4f43b0de58502da43194 | 100 | 2 | 24 | 2022-09-27 | 2037-09-27 | 退网 | 农鸿泽 | 农鸿泽 |  | 24111655080020351631541 | 深圳科信-48V直流列头柜30/1 | 45a3a41578d | 30 |  | 54001 | 1 |  | 303329G00031120 | [6 empty] | 农鸿泽 | [7 empty] | 中恒组合开关电源1/1 | 开关电源 | 0403000030 | 崇左大新县农场二分场-开关电源系统-1--48V直流列头柜-30 | 基站机房 | 普通基站 | 通信基站 | 崇左-铁通-大新维护站-无线班组 | 农鸿泽 | nonghongze | 2023-04-26 16:26:56 | nonghongze | 2025-11-22 16:03:18 |  |  | 2026-01-21
CE_DEVICE_PE_MONITOR_20260121.csv | res_code | province_id | city_id | county_id | related_site | related_room | device_type | device_subclass | zh_label | device_code | device_number | product_name | vendor_id | device_brand | start_time | estimated_retirement_time | lifecycle_status | maintainer | serial_number | asset_code | asset_name | task_name | rack_poi_uuid | maintain_vendor | device_add | coding_suffix | maintain_person | factory_number | accept_date | supplier | manage_company | property_right | rated_power | grid | ems_dev_name | monitoring_system_dev_code | power_monitor_dev_name | power_room_type | gx_power_site_level | site_major_level | maintenance_team | qr_code | qualitor | data_maintainor | create_by | create_time | update_by | update_time | project_uuid | project_name | day
| 008ff2f6d03b4245b7ff6923c17ade0d | 广西 | 桂林 | 象山区 | SITE-77002068 | ROOM-4257f9e359174b968d4263a4b63f6af3 | 动环监控 | FSU | 卓望技术FSU6 | 760300000000006 | 6 | ASP DCU-8003-IP | 卓望数码技术（深圳）有限公司 |  | 2025-06-16 | 2035-06-16 | 现网 | 唐勇 |  |  |  | 中国移动广西分公司2025年汇聚机房配套一阶段桂林工程 |  |  | 10.178.50.137 |  | 唐勇 | 33202507027645 | 2025-12-04 11:35:30 | [6 empty] | 7603000006 | 桂林象山区瓦窑二楼综合机房-FSU-6 | 传输机房 | 市区重要汇聚机房 | 传输节点 | 移动-桂林市-动力班组 | 2402188080195978065938 | 邓璠 | 陈永生 | xuyan | 2025-12-04 11:35:23 | dengfan | 2025-12-04 11:35:30 | bfc7071407b74c32b424d30875e994ec |  | 2026-01-21
CE_DEVICE_PE_NA_20260121.csv | res_code | related_site | related_room | zh_label | device_type | device_subclass | device_code | device_brand | vendor_id | lifecycle_status | start_time | estimated_retirement_time | rated_input_power | rated_operating_voltage | customized_heat | county_id | outdoor_model | outdoor_factory_no | supplier | accept_date | manage_company | factory_number | asset_code | upper_device_name | work_mode | grid | ems_dev_name | asset_name | is_handover | tower_handover_state | maintain_type | serial_number | project_name | coding_suffix | upper_device_type | power_monitor_dev_code | power_monitor_dev_name | power_room_type | gx_power_site_level | sn | site_major_level | maintain_person | maintainer_person | product_name | province_id | city_id | rack_poi_uuid | property_right | property_right_unit | qr_code | maintenance_team | task_name | customized_cooling_capacity | create_by | create_time | update_by | update_time | data_maintainor | project_no | day
| 009f211497d144bbad29804930b65902 | 3f4129fc5c7e4d6880dae2e0417815da | b8f43362ece048af9abb99cfbe024aef | 格力壁挂空调1 | 普通空调 | 壁挂空调 | 150200000000001 | 格力 | 珠海格力电器股份有限公司 | 现网 | 2023-03-17 | 2029-03-17 | 1.455 | 380V |  | 忻城 |  |  |  | 2023-03-17 17:22:45 |  |  |  | 通鼎宽带市电交流配电箱1/1 | [10 empty] | 低压交流配电 | 1502000001 | 来宾忻城县城关镇六华村委OLT搬迁下山站点生产机房-壁挂空调-1 | 传输机房 | 普通基站 | 1 | 通信基站 | 蓝秋妮 | 蓝秋妮 | KF-50GW/JZPdNaAD-N2 | 广西 | 来宾 |  |  |  | 24121344080268814617117 | 来宾-铁通-忻城维护站-无线班组1 |  | 5.4 | lipanpan | 2023-03-17 17:22:30 | lanqiuni | 2023-03-17 18:12:42 | 蓝秋妮 |  | 2026-01-21
CE_DEVICE_PE_OTHER_20260121.csv | res_code | county_id | related_site | related_room | device_type | device_subclass | device_number | zh_label | device_code | vendor_id | serial_number | product_name | asset_code | start_time | estimated_retirement_time | lifecycle_status | maintainer | rated_capacity | province_id | city_id | qr_code_no | system_name | system_code | system_brand | system_vendor | system_type | system_no | upper_device_name | upper_device_type | power_room_type | power_monitor_dev_code | power_monitor_dev_name | gx_power_site_level | device_brand | coding_suffix | factory_number | accept_date | supplier | manage_company | property_right | grid | ems_dev_name | power_site_level | maintain_person | rack_poi_uuid | maintenance_team | task_name | reserved_fields_1 | reserved_fields_2 | reserved_fields_3 | qualitor | data_maintainor | create_by | create_time | update_by | update_time | project_uuid | project_name | day
| 0199668837dd40b99770ec48c0bca257 | 江南区 | SITE-8a380d9d3908f4be01390a3c6bc30c77 | SITE-8a380d9d3908f4be01390a3c6bc30c77 | 其他设备 | 交换机 | 501 | 迈普交换机501 | 0920221128100501 | 迈普通信技术股份有限公司 |  | S4320-56TC | 033321G00008136 | 2022-11-28 | 2030-11-28 | 工程 | 曾毓有13707889989 | 48 | 广西 | 南宁 | 2401823080329533165053 | [8 empty] | 综合机房 | 1602000501 | 南宁白沙第二生产楼五楼综合机房-交换机-501 | 通信机楼 | 迈普 |  |  | 2022-11-29 14:08:27 | [5 empty] | 通信枢纽楼 | 曾毓有13707889989 | [6 empty] | 杜若笙 |  | wujialiang1 | 2022-11-29 14:07:44 | duruosheng | 2025-10-17 11:07:11 |  |  | 2026-01-21
CE_DEVICE_PE_POWER_GENERATION_20260121.csv | res_code | province_id | city_id | county_id | related_site | related_room | device_type | device_subclass | zh_label | device_code | product_name | vendor_id | rated_power | rated_output_voltage | output_voltage_type | self_start_function | cooling_method | installation_method | backup_method | related_system | start_time | estimated_retirement_time | lifecycle_status | maintainor | qualitor | qr_code_no | power_device_name | power_device_id | sn | device_brand | sys_no_uuid | sys_sequence_no | single_fuel_tank_capacity | serial_number | asset_code | asset_name | project_no | project | task_name | rack_poi_uuid | come_from | phase_num | start_battery_capacity | started_batteries_model | started_batteries_num | start_mode | coding_suffix | maintain_person | factory_number | accept_date | supplier | manage_company | property_right | grid | ems_dev_name | oil_engine_type | monitoring_system_dev_code | power_monitor_dev_name | power_room_type | gx_power_site_level | power_site_level | maintenance_team | data_maintainor | create_by | create_time | update_by | update_time | project_name | project_uuid | day
| 0060f09c47d847938d31b1d91b769f85 | 广西 | 柳州 | 柳北区 | 49046f50aaec40b0aff213ad1dc162a6 | 49046f50aaec40b0aff213ad1dc162a6 | 发电机组 | 移动发电机 | 重庆宗申移动发电机252/1 | 050500001000252 | 5KW单相便携汽油发电机 | 重庆宗申动力机械股份有限公司 | 5 | 220 | 交流 | 否 | 风冷 | 便携 | 单台设备 | 开普发电系统1 | 2012-02-29 | 2027-03-01 | 退网 | 滕盛广 | 王婷 | 2403351080074304364179 | 重庆宗申移动发电机252/1 | 1d91b769f85 | 252 |  | 56001 | 1 | [8 empty] | 自购 | 单相 | 60 | 60AH | 1 | 手动启动 |  | 滕盛广 |  | 2025-03-18 15:24:56 | [5 empty] | 汽油机 | 0501000252 | 柳州柳北区临时暂存无线位置点-发电系统-1-移动发电机-252 | 基站机房 | 普通基站 | 通信基站 | 柳州-铁通-城中维护站-无线班组1 |  | weishengwu | 2025-03-18 15:24:22 | dingzhenliang | 2025-11-22 16:03:18 |  |  | 2026-01-21
CE_DEVICE_PE_ROOM_ENVIRONMENT_20260121.csv | res_code | county_id | related_room | device_type | device_subclass | device_number | zh_label | device_code | vendor_id | serial_number | product_name | asset_code | start_time | estimated_retirement_time | lifecycle_status | maintainer | related_site | device_add | rated_power | power_room_type | gx_power_site_level | maintain_vendor | property_right | ems_dev_name | coding_suffix | manage_company | factory_number | accept_date | supplier | device_brand | grid | site_major_level | maintain_person | city_id | province_id | qr_code | rack_poi_uuid | task_name | maintenance_team | qualitor | data_maintainor | create_by | update_by | create_time | update_time | power_monitor_dev_name | monitoring_system_no | project_uuid | project_name | day
| T_PHY_ROOM_ENVIRONMENT-ff80808173c8ca000173e70d31d32073 | 融安 | ROOM-8a380d9d4379625b014568859e3902de | 机房环境 | 湿度 | 1 | 维谛技术湿度1 | 170200000000001 | 维谛技术有限公司 |  | IDUIO |  | 2019-09-09 | 2027-09-09 | 现网 | 滕盛广 | SITE-8a3817861fd5a5c9011fd9b3a8834212 |  |  | 基站机房 | 普通基站 | [6 empty] | 2020-06-11 09:30:12 |  | 维谛技术 |  | 通信基站 | 滕盛广 | 柳州 | 广西 | 2403285080437580072116 |  |  | 柳州-铁通-融安维护站-无线班组1 | 韦生武 | 韦生武 | jianghaiyun | weishengwu | 2020-08-13 17:01:08 | 2022-09-27 22:23:18 | 柳州融安县大良镇大良街基站无线机房-湿度-1 | 1702000001 |  |  | 2026-01-21
CE_DEVICE_PE_SMART_METER_20260121.csv | res_code | province_id | city_id | county_id | related_site | related_room | device_type | device_subclass | zh_label | device_code | product_name | vendor_id | meter_circuit_number | start_time | estimated_retirement_time | lifecycle_status | maintainor | qualitor | qr_code_no | power_device_name | power_device_id | device_number | device_brand | collected_device | serial_number | asset_code | project_no | project | task_name | rack_poi_uuid | maintain_vendor | device_add | coding_suffix | factory_number | accept_date | supplier | manage_company | property_right | rated_power | grid | maintenance_team | ems_dev_name | monitoring_system_dev_code | power_monitor_dev_name | power_room_type | gx_power_site_level | power_site_level | data_maintainor | create_by | create_time | update_by | update_time | project_uuid | project_name | day
| 0071b1bb4a1a4801b76bf42fd0e186e2 | 广西 | 柳州 | 融水 | SITE-0f8adb3ca15e4771bede3f8f9ad0a819 | ROOM-41a45a60885b4033b3ff493f1c68219f | 智能电表 | 交流智能电表 | 维谛技术交流智能电表4 | 920100000000004 | DTSD3366M-4-W1 | 维谛技术有限公司 | 4 | 2023-11-20 | 2031-11-20 | 现网 | 滕盛广 | 王婷 | 2403228080423220036606 | 维谛技术交流智能电表4 | 42fd0e186e2 | 4 | 维谛技术 | [11 empty] | 2023-11-21 09:12:02 | [5 empty] | 柳州-铁通-融水维护站-无线班组1 |  | 920100000000004 | 柳州融水县民族大道180号水东传输站传输机房-交流智能电表-4 | 传输机房 | 县城重要汇聚机房 | 传输节点 |  | jianghaiyun | 2023-11-21 09:10:23 | wangting | 2025-07-02 10:10:20 |  |  | 2026-01-21
CE_DEVICE_PE_SWITCH_POWER_20260121.csv | res_code | province_id | city_id | county_id | related_site | related_room | device_type | device_subclass | zh_label | device_code | product_name | vendor_id | related_system | rated_output_voltage | monitoring_module_model | total_rack_loading_modules | total_rack_match_modules | signal_output_rated_capacity | start_time | estimated_retirement_time | lifecycle_status | maintainor | qualitor | related_rackpos | qr_code_no | power_device_name | power_device_id | sn | device_brand | sys_no_uuid | sys_code | sys_no | serial_number | asset_code | asset_name | project_no | project | task_name | co_construction_or_not | share_or_not | co_construction_unit | shared_units | cold_backup_modules | battery_pack_fuse_groups | battery_capability | comm_model_voltage | rectifier_module_model | cable_laying_mode | whether_powered_down_again | coding_suffix | maintain_person | accept_date | supplier | manage_company | property_right | grid | ems_dev_name | factory_number | upper_device_name | upper_device_type | monitoring_system_dev_code | power_monitor_dev_name | power_room_type | gx_power_site_level | power_site_level | maintenance_team | data_maintainor | create_by | create_time | update_by | update_time | project_name | project_uuid | day
| 001f7e52456c4403b0cf490aded63758 | 广西 | 崇左 | 凭祥 | 0a2a3d08671b4965bdcfcbc8008fee7c | 0a2a3d08671b4965bdcfcbc8008fee7c | 开关电源 | 壁挂开关电源 | 中恒壁挂开关电源1/1 | 060300001000001 | IPS50B-48V150A | 杭州中恒电气股份有限公司 | 中恒开关电源系统1 | 24V | ZHM19S | 3 | 3 | 50 | 2023-12-12 | 2035-12-12 | 现网 | 农鸿泽 | 农鸿泽 |  | 24111649080084517565460 | 中恒壁挂开关电源1/1 | 90aded63758 | 1 |  | 54001 | 中恒开关电源系统1 | 1 | [5 empty] | 崇左凭祥南站大酒店室分NR-H5W | 否 | 否 |  |  |  | 1 | 150 | 220V | NPR48-ES |  |  |  | 农鸿泽 | 2024-10-31 15:42:23 | [6 empty] | 中恒低压交流配电柜1/1 | 低压交流配电 | 0603000001 |  | 基站机房 | 普通基站 | 通信基站 | 浙邮-崇左-凭祥市-无线-无线班组1 |  | huangmaohua | 2024-10-31 15:39:50 | nonghongze | 2025-01-13 19:21:30 | 中国移动广西公司2023年5G五期二阶段室分工程崇左工程 | C23303329AA1001 | 2026-01-21
CE_DEVICE_PE_TRANSFORM_20260121.csv | res_code | province_id | city_id | county_id | related_site | related_room | device_type | device_subclass | zh_label | device_code | product_name | vendor_id | rated_power | input_rated_voltage | low_reted_current | backup_method | start_time | estimated_retirement_time | lifecycle_status | maintainor | qualitor | qr_code_no | power_device_name | power_device_id | rack_poi_uuid | sn | device_brand | rated_current | supplier | accept_date | manage_company | factory_number | coding_suffix | power_monitor_dev_code | power_monitor_dev_name | upper_device_type | gx_power_site_level | serial_number | asset_code | upper_device_name | asset_name | project | project_no | cooling_mode | product_code | connection_group | insulation_level | heat_resistant_grade | limit_of_temp_rise | impedance_voltage | degree_of_protection | weight | grade | property_right | grid | ems_dev_name | site_major_level | power_room_type | maintenance_team | task_name | data_maintainor | create_by | create_time | update_by | update_time | rated_vout | project_name | project_uuid | day
| 0768ea7db5514762a9fc03b990282816 | 广西 | 钦州 | 灵山 | SITE-1192 | ROOM-e4b9c15219ad421c8906cf3b81a8f750 | 变压器 | 干式变压器 | 广州广高干式变压器101 | 030100000000101 | SCB11-630/10 | 广州广高高压电器有限公司 | 630 | 10KV | 34.6 | 单台设备 | 2021-11-15 16:55:08 | 2036-11-15 16:55:08 | 现网 | 玉满英 | 龚冠云 | 24081538null0040809755105 | 广州广高干式变压器101 | 3b990282816 |  | 101 | 广州广高 | 34.6 |  | 2021-11-15 16:57:09 | 铁通 | CB2021050748 |  | 0301000101 | 钦州灵山县中心机房二号楼一楼电力机房-干式变压器-101 |  | 县城重要汇聚机房 | [6 empty] | 风冷 | 1GB.710.9162.4 | Dyn11 |  | H |  |  | IP31 | 1685 |  | 中国移动 |  |  | 传输节点 | 电力机房 | 钦州-铁通-灵山县维护站-无线班组1 |  | 刘鹏 | gongguanyun | 2022-07-26 10:21:42 | gongguanyun | 2025-10-29 18:25:09 | 380V |  |  | 2026-01-21
CE_DEVICE_PE_UPS_20260121.csv | res_code | province_id | city_id | county_id | related_site | related_room | device_type | device_subclass | zh_label | device_code | product_name | vendor_id | related_system | rated_capacity | rated_output_voltage | start_time | estimated_retirement_time | lifecycle_status | maintainor | qualitor | qr_code_no | power_device_name | power_device_id | sn | device_brand | sys_no_uuid | sys_sequence_no | ups_install_module_num | ups_match_module_num | sm_exp_rating_capacity | serial_number | asset_code | asset_name | project_uuid | project_name | task_name | rack_poi_uuid | work_mode | device_wiring_mode | dubl_bus_sys_code | coding_suffix | maintain_person | factory_number | accept_date | supplier | manage_company | property_right | grid | ems_dev_name | upper_device_name | upper_device_type | monitoring_system_dev_code | power_monitor_dev_name | power_room_type | gx_power_site_level | power_site_level | maintenance_team | data_maintainor | create_by | create_time | update_by | update_time | item_name | item_uuid | day
| 01cf398224964f6abea9468f9ce3075b | 广西 | 玉林 | 玉州 | SITE-ff8080815ca6295d015caa8df9f91f5c | ROOM-ff8080815b8a242a015d0c4cc1ab00cc | UPS设备 | 模块化高频UPS | 科士达模块化高频UPS1/4 | 080300004000001 | YMK3300-200 | 深圳科士达科技股份有限公司 | 0ef107028f9c4132bbf3e01fe1768acc | 200 | 380V | 2024-08-16 | 2034-08-16 | 工程 | 黄永基 | 赖崚灏 | 2404653null0090450094662 | 科士达模块化高频UPS1/4 | 68f9ce3075b | 1 |  | 53004 | 4 | 4 | 4 | 50 |  |  | UPS/EPS电源柜 |  |  |  |  | 单机 |  |  |  | 黄永基 |  | 2024-09-25 15:34:36 | 深圳科士达科技股份有限公司 |  |  |  |  | 中通服节能低压出线柜68/1 | 低压交流配电 | 0803000001 | 玉林玉州区西城生产楼-UPS系统-4-模块化高频UPS-1 | 交换机房 | 通信机楼 | 通信枢纽楼 | 移动-玉林市-动力班组 |  | libosheng | 2024-09-25 15:34:08 | ruanliangjie | 2024-12-16 09:01:46 |  |  | 2026-01-21
CE_DEVICE_PE_UPS_AC_DISTRIBUTION_20260121.csv | res_code | related_site | related_room | zh_label | device_type | device_subclass | device_code | device_brand | vendor_id | product_name | sys_no_uuid | lifecycle_status | start_time | estimated_retirement_time | reted_capacity | total_input_port | total_onput_port | device_configuration_spd_brand | spd_max_rate | county_id | accept_date | project_name | asset_code | sn | sys_no_name | sys_sequence_no | maintainor | rack_poi_uuid | serial_number | asset_name | with_sts_switch | bus_section | upper_device_name | upper_device_type | power_room_type | gx_power_site_level | power_site_level | qr_code | city_id | province_id | monitoring_system_dev_code | power_monitor_dev_name | maintenance_team | task_name | create_by | create_time | update_by | update_time | qualitor | data_maintainor | project_uuid | day
| 0b3830d711b742ef89ac2c3f126f7be1 | SITE-77101027 | ROOM-6615 | 珠江电信UPS输出列头柜810/84 | UPS配电 | UPS输出列头柜 | 090200084000810 | 珠江电信 | 广州珠江电信设备制造有限公司 | PRD | 53084 | 空载 | 2009-08-31 | 2024-08-31 | 100 |  |  |  |  | 青秀区 |  |  | 3321-00067910 | 810 | 漳州科华UPS系统84 | 84 | 黎杰发 | 南宁二枢纽生产楼二十八楼东面网管机房-B00 |  |  | 否 | 1 | 科华恒盛模块化高频UPS812/86 | UPS设备 | 数据机房 | 通信机楼 | 通信枢纽楼 | 2401846080356830176074 | 南宁 | 广西 | 090200084000810 | 南宁二枢纽生产楼-UPS系统-84-UPS输出列头柜-810 | 移动-南宁市-动力班组 |  | duruosheng | 2023-03-16 14:55:14 | liangtian | 2025-05-14 15:15:56 | 杜若笙 | 黎杰发 |  | 2026-01-21
CE_DEVICE_PE_WPC_20260121.csv | res_code | province_id | city_id | related_room | related_site | device_type | device_subclass | zh_label | device_code | device_brand | vendor_id | product_name | lifecycle_status | start_time | estimated_retirement_time | rated_cooling_capacity | rated_input_power | rated_operating_voltage | total_system_capacity | system_output_voltage | total_fan_number | fan_form | fan_brand | fan_rated_power | solar_modules_number | solar_modules_brand | solar_modules_rated_capacity | county_id | supplier | accept_date | manage_company | factory_number | device_number | maintainer_person | serial_number | asset_name | upper_port_uuid | coding_suffix | upper_dev_name | upper_device_type | power_monitor_dev_code | power_monitor_dev_name | power_room_type | gx_power_site_level | asset_code | property_right | grid | ems_dev_name | wind_solar_power_model | site_major_level | maintain_person | task_name | rack_poi_uuid | maintenance_team | upper_device_name | qr_code | qualitor | data_maintainor | create_by | create_time | update_by | update_time | project_uuid | project_name | day
| 68663711831f449a9c380f1b0915f36d | 广西 | 南宁 | ROOM-df2ebf9e42b24ee7a60250e28621de2c | SITE-a472c9b777fb470dbabc6ee584c503cc | 风光设备 | 风光互补控制器 | 动环其它风光互补控制器1 | 780300000000001 | 动环其它 | 动环其它 | 资源稽核用 | 工程 | 2023-02-23 | 2033-02-23 | 1 | 1.00 | 380V | 1 | 380 | 1 | 无 | 动环其它 | 1 | 1 | 动环其它 | 1 | 良庆区 |  |  |  |  | 1 | 韦成威 |  |  |  |  | 深圳日海市电交流配电箱28/21 | 低压交流配电 | 7803000001 | 南宁五象信息楼十六楼小综合机房-风光互补控制器-1 | 综合机房 | 业务汇聚机房 | [5 empty] | 传输节点 | 韦成威 |  |  | 广西-区动力室-故障处理组 | 深圳日海市电交流配电箱28/21 | 2401837080214418116123 | 韦成威 | 韦成威 | weichengwei1 | 2023-02-23 20:09:04 | weichengwei1 | 2023-06-07 18:11:04 |  |  | 2026-01-21
CE_LINK_PE_IN_20260121.csv | res_code | province_id | city_id | county_id | related_site | related_room | related_device_type | related_device | branch_type | branch_type_abbreviation | branch_number | branch_active_standby | branch_rated_capacity | lifecycle_status | branch_name | down_device_ralated_room | down_device_name | down_branch_name | down_device_type | down_branch_type | down_branch_type_abbreviation | down_branch_number | down_branch_rated_capacity | down_branch_active_standby | down_use_status | qualitor | qr_code_no | device_code | res_shunt_type | rated_vout | dc_way | output_cable_mode | cable_diameter | exp_cable_capacity | asset_code | exp_cable_length | terminal_poles_num | downstream_switch_model | downstream_switch_vendor | downstream_switch_brand | downstream_switch_supplier | downstream_device_code | model_uuid | supplier | vendor | brand | gx_site_level | power_site_level | device_qr_code | downstream_device_qr_code | data_maintainor | create_by | create_time | update_by | update_time | day
| 000c560c28d74a118c758c98e7b4cf27 | 广西 | 河池 | 金城江区 | SITE-8a388e0a2b9e7693012ba0782b2a3bd5 | ROOM-8a388e0a2ba11758012ba9ddee190798 | 低压交流配电 | 中恒低压交流配电柜2/4 | 塑壳断路器 | KOUT | 08 | 主用 | 80 | 在用 | 河池金城江区三桥生产楼四楼电力机房-中恒低压交流配电柜2/4-KOUT08-80-主用-在用 | ROOM-8a380d9d38bbeb9c0138c2e65a0145f2 | T_PHY_COM_POWER_DISTRIBU_L-ff80808175d0faa00175e3b81b4734fb | 河池金城江区三桥生产楼五楼综合机房-香江空调配电柜3/5-KIN01-80A-主用-在用 | 低压交流配电 | 微型断路器 | KIN | 01 | 80 | 主用 | 在用 | 严鸣 | 2406518080163311949161 | 021200004000002 | 专业内输出分路 | 380V | 交流 |  | 120 | 375 | [7 empty] | 022300005000003 |  |  |  |  | 通信机楼 | 通信枢纽楼 |  |  |  | yanming | 2024-08-27 16:51:37 | yanming | 2024-08-27 16:52:06 | 2026-01-21
CE_LINK_PE_OUT_20260121.csv | res_code | province_id | city_id | county_id | related_site | related_room | related_device_type | related_device | branch_type | branch_type_abbreviation | branch_number | branch_active_standby | lifecycle_status | branch_name | down_device_ralated_room | down_device_type | branch_rated_capacity | major_type | down_device_related_rackpos | rack_switch_name | down_device_power | qualitor | down_device_related_rack | qr_code_no | downstream_load_uuid | downstream_rack_poi_abbreviation | data_maintainor | rated_vout | dc_way | terminal_poles_num | gx_site_level | power_site_level | res_shunt_type | remark | create_by | create_time | update_by | update_time | accessNetSheetNo | adjustSheetNo | quitNetSheetNo | output_shunt_source | day
| 00018b4a4be54c008d2917827f37d8a2 | 广西 | 桂林 | 七星区 | SITE-77101266 | ROOM-8c6558d487cc43ccab0751f57d4ea7bd | 低压直流配电 | T_PHY_COM_POWER_DISTRIBU_LS-ff80808177c736410177f1da82063099 | 熔断器 | ROUT | 35 | 备用 | 在用 |  | ROOM-8c6558d487cc43ccab0751f57d4ea7bd | 其他 | 63 | 其他 | T_PHY_SHELFRACK_UNIT-1ff63874641f4d578745e5d6d9799392 | 6 | 500W | 韦成威 | T_EXT_RACK_SPACE-ff8080817d7a2ef0017f3f96880c51b3 | 2402195080174933362074 | 4601-桂林桂北IDC-东江 |  |  | -48V | 直流 |  | 通信机楼 | 通信枢纽楼 | 熔断器 |  | sushuhua | 2024-06-03 14:50:50 | sushuhua | 2024-06-03 14:50:50 |  |  |  | 资源中心 | 2026-01-21
CE_NET_PE_CACH_20260121.csv | res_code | province_id | city_id | county_id | related_site | related_room | system_type | zh_label | system_code | sys_no | system_vendor_uuid | system_brand | sys_rated_capacity | work_mode | lifecycle_status | sys_water_pump_cout | system_host_count | system_ice_tank_count | system_coling_tower | power_cach_name | system_cach_code | monitoring_system_no | power_monitor_sys_name | gx_power_site_level | power_site_level | sys_vendors | create_by | create_time | update_by | update_time | data_maintainor | day
| 1c5022be5b5e4127a15e57990505c7c5 | 广西 | 南宁 | 良庆区 | SITE-e212790d07b04ff8b79c76e59cd2218f | ROOM-148a8c08bf844960a27d72b81665a770 | 中央空调系统 | 广东海悟中央空调系统23 | 57023 | 23 | 广东海悟科技有限公司 | 广东海悟 | 50 | 1+1主备 | 工程 |  | 0 | 0.0 | 0 |  |  | 57023 | 南宁良庆区广西数据中心2#楼-中央空调系统-23 | 数据中心 | 数据中心 |  | qinchanghao | 2022-10-08 10:05:43 | qinchanghao | 2025-10-10 09:27:46 |  | 2026-01-21
CE_NET_PE_HIGH_DISTRIBUTION_20260121.csv | res_code | province_id | city_id | county_id | related_site | related_room | system_type | zh_label | system_code | system_rated_capacity | lifecycle_status | qualitor | sys_no | system_vendor_uuid | system_vendor_branch | sys_rated_capacity | high_sys_device_name | high_sys_device_num | high_sys_device_code | sys_vendor_name_uuid | opration_mode | monitoring_system_no | power_monitor_sys_name | gx_power_site_level | power_site_level | maintainor | create_by | create_time | update_by | update_time | day
| 1e84d04c9a01405993a0375e910af5fc | 广西 | 河池 | 都安 | 12d4b9dfe4a44006ab86dfaa70b1f874 | aee753429a024beb91fa1eb5cfa85768 | 高压配电系统 | 维谛技术高压配电系统1 | 51001 | 630 | 现网 | 严鸣 | 1 | 维谛技术有限公司 |  | 630 |  | 8 |  |  |  | 51001 | 河池都安县都安生产楼重要汇聚机房-高压配电系统-1 | 县城重要汇聚机房 | 传输节点 |  | yanming | 2024-09-12 17:11:55 | yanming | 2024-09-12 17:12:15 | 2026-01-21
CE_NET_PE_HIGH_POWER_20260121.csv | res_code | province_id | city_id | county_id | related_site | related_room | system_type | zh_label | system_code | system_rated_capacity | lifecycle_status | qualitor | sys_no | system_vendor_uuid | system_vendor_branch | high_dc_sys_high_dc_name | sys_hdp_num | sys_hd_num | hdp_codes | hdp_names | sys_vendor_name_uuid | work_mode | monitoring_system_no | power_monitor_sys_name | gx_power_site_level | power_site_level | maintainor | create_by | create_time | update_by | update_time | day
| 363eb4123904444f9279362cdae904b6 | 广西 | 南宁 | 良庆区 | SITE-e212790d07b04ff8b79c76e59cd2218f | 5fa954a5d33d45ca8b5fda280f57c8c5 | 高压直流系统 | 中恒高压直流系统1 | 55001 | 1600 | 工程 | 韦成威 | 1 | 杭州中恒电气股份有限公司 |  | 中恒分立高压直流电源2601/1 |  | 4 | 880400001002601,880200001002302,880200001002304,880200001002306 |  |  | 1+1 | 55001 | 南宁良庆区广西数据中心2#楼-高压直流电源系统-1 | 数据中心 | 数据中心 |  | qinchanghao | 2022-11-03 12:21:05 | admin | 2024-12-20 17:51:34 | 2026-01-21
CE_NET_PE_LOW_DISTRIBUTION_20260121.csv | res_code | province_id | city_id | county_id | related_site | related_room | system_type | zh_label | system_code | system_rated_capacity | lifecycle_status | qualitor | sys_no | system_vendor_uuid | system_vendor_branch | sys_low_ac_code | low_sys_vendors | low_sys_low_ac | low_sys_low_ac_num | sys_rated_capacity | sys_control_capacity | section_bus_num | opration_mode | project_no | monitoring_system_no | power_monitor_sys_name | gx_power_site_level | power_site_level | maintainor | create_by | create_time | update_by | update_time | day
| 00092f6fa2e34023a268fe7e60bbcc32 | 广西 | 河池 | 罗城 | SITE-8a3817821c20a6dc011c89a384744f58 | ROOM-8a3817821c20a6dc011c89a4bdcb5205 | 低压配电系统 | 德力西低压配电系统70 | 52070 | 250 | 退网 | 严鸣 | 70 | 中国德力西控股集团有限公司 |  |  |  |  | 0 | 250 |  | 1 | 独立 |  | 52070 | 河池罗城县兼爱乡旦兴村-低压配电系统-70 | 普通基站 | 通信基站 |  | weijingjing | 2024-07-16 17:36:42 | weijingjing | 2024-07-16 17:36:42 | 2026-01-21
CE_NET_PE_OPEN_POWER_20260121.csv | res_code | province_id | city_id | county_id | related_site | related_room | system_type | zh_label | system_code | system_rated_capacity | lifecycle_status | qualitor | sys_no | system_vendor_uuid | system_vendor_branch | sp_sysystem_device_name | sp_sysystem_vendor_name | sp_sys_dc_distribution_count | sp_sys_rectifier_count | sp_sys_dc_distribution_code | sp_sys_dc_distribution_name | sys_control_capacity | monitoring_system_no | power_monitor_sys_name | gx_power_site_level | power_site_level | maintainer | create_by | create_time | update_by | update_time | day
| 002e901caff4499480bebd0c9ea2c9b5 | 广西 | 百色 | 田林 | SITE-9a614e009e594d03ae1f1d52bb20c246 | ROOM-82dcd93684fb431c8bad07bbccb6eb8b | 开关电源系统 | 华为开关电源系统1 | 54001 | 300 | 工程 | 王平1 | 1 | 华为技术有限公司 |  | 华为一体化电源柜1/1 |  | 0 |  |  |  |  | 54001 | 百色田林县平塘乡茅草坪村村部室外柜下山站点-开关电源系统-1 | 普通基站 | 通信基站 |  | qingao | 2023-10-09 16:03:26 | wangping1 | 2023-10-09 16:03:47 | 2026-01-21
CE_NET_PE_SWITCH_POWER_20260121.csv | res_code | province_id | city_id | county_id | related_site | related_room | system_type | zh_label | system_code | system_rated_capacity | lifecycle_status | qualitor | sys_no | system_vendor_uuid | system_vendor_branch | genset_vendor_name | genset_num | genset_name | genset_id | monitoring_system_no | power_monitor_sys_name | gx_power_site_level | work_mode | power_site_level | maintainor | create_by | create_time | update_by | update_time | day
| 059139498eb444c2b4ec3dfdafdc35aa | 广西 | 桂林 | 平乐 | SITE-b804e9443c394346836ca211735b1314 | ROOM-7cbc953338254470aa9e45dc5ab82493 | 发电系统 | 潍柴重机发电系统1 | 56001 | 75 | 工程 | 粟树华 | 1 | 潍柴重机股份有限公司 |  |  | 0 |  |  | 56001 | 桂林平乐县源头镇汇聚-发电系统-1 | 乡镇普通汇聚机房 | 独立 | 传输节点 |  | sushuhua | 2023-11-15 15:28:14 | sushuhua | 2023-11-15 15:28:14 | 2026-01-21
CE_NET_PE_UPS_20260121.csv | res_code | province_id | city_id | county_id | related_site | related_room | system_type | zh_label | system_code | system_rated_capacity | work_method | bus_type | lifecycle_status | qualitor | sys_no | system_vendor_uuid | system_vendor_branch | ups_sys_to_ups_ac | sys_ups_total_nums | dubl_bus_sys_name | ups_sys_to_ups_ac_num | ups_sys_to_ups_ac_code | sys_vendors | sys_control_capacity | monitoring_system_no | power_monitor_sys_name | gx_power_site_level | power_site_level | data_maintainor | create_by | create_time | update_by | update_time | day
| 0014b9f6fce7417598217c5cd323ea29 | 广西 | 防城港 | 防城区 | SITE-ff808081529cf01b015437a37de3472d | ROOM-ff808081529cf01b015437a380c34730 | UPS系统 | 中恒UPS系统1 | 53001 | 400 | 单机 | 单母线 | 工程 | 耿钏峻 | 1 | 杭州中恒电气股份有限公司 |  |  |  |  | 0 |  |  | 400 | 53001 | 防城港防城区侨兴街联通-UPS系统-1 |  | 通信基站 | 耿钏峻 | gengchuanjun | 2022-09-23 13:04:34 | admin | 2023-11-21 10:29:48 | 2026-01-21
PHYSICAL_STATION_20260121.csv | uuid | name | city | county | site_name | room_poi_name | label_code | phy_source | life_status | space_life_status | maintain_mode | maintenance_team | tower_maintain_group | trains_cover_scence | tower_server_level | longitude | latitude | site_district_name | geo_features | floor_s | vendor_name | station_type | vip_level | district_type | comm_addr_info | spectrum_name | coverage | distribution_system | maintain_matching | matching | coverage_scene | coverage_scene_detail | gsm900_net_num | gsm1800_net_num | lte_online_num | nb_bts_online_num | five_bts_online_num | two_bts_online_num | four_bts_online_num | seven_bts_online_num | cell_online_num | lte_cell_online_num | rru_online_num | bbu_online_num | repeater_online_num | tdd_cell_online_sum | fdd_cell_online_sum | nrcell_cell_online_sum | gsm900_num | gsm900_bs_name | gsm1800_num | gsm1800_bs_name | lte_sum | lte_station_name | nb_bts_num | la_bts_num | ld_bts_num | le_bts_num | lf_bts_num | fg_bts_num | fd_bts_num | tdd_bts_num | fdd_bts_num | five_bts_num | two_bts_num | four_bts_num | seven_bts_num | cell_sum | lte_community_sum | rru_sum | bbu_sum | antenna_sum | indoor_antenna_sum | tower_sum | repeater_sum | pics_bs_num | pics_bs_name | pics_bs_cell_num | pics_bs_cell_name | update_time | day
| ACCESSPOINT-8a380d904442afd60144494e1d0a31e1 | 柳州鱼峰区正和城无线物理站 | 柳州 | 鱼峰区 | 柳州鱼峰区正和城无线资源点 | 柳州鱼峰区正和城无线资源点 |  | 运营商自留站 | 退网 | 退网 | 代维 |  |  |  |  | 109.508181 | 24.368371 | 广西柳州鱼峰区雒容镇龙象社区居委会新柳大道102号正和城44#墙壁角落 | 市区 |  |  |  | 非VIP |  |  |  |  | 否 |  | 否 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 2026-01-21 20:30:44 | 2026-01-21
RM_AREA_RACKPOS_20260121.csv | int_id | serial | equiproom_id | row_id | line_id | using_status | province_id | city_id | county_id | uuid | res_tag | create_by | update_by | create_time | update_time | accessNetSheetNo | adjustSheetNo | quitNetSheetNo | qualitor | day
| T_PHY_SHELFRACK_UNIT-b076ae7bfa26456f95e0558ffb732795 | 柳州鱼峰区西江营业厅传输站传输机房-C02 | ROOM-bd7692d8956f48978007d972eaa67534 | C | 02 | 占用 | 广西 | 柳州 | 鱼峰区 |  | 4502030203T_PHY_SHELFRACK_UNIT-b076ae7bfa26456f95e0558ffb732795 | qindanning | yangchangyu | 2021-04-28 11:06:57 | 2025-10-22 14:45:29 |  | GX-20230616-KJTZ-034991,GX-20230721-KJTZ-508312,GX-20231102-KJTZ-490407,GX-20231229-KJTZ-785475 |  | admin | 2026-01-21
RM_AREA_RESPOINT_20260121.csv | int_id | zh_label | res_type | longitude | latitude | address | province_id | city_id | county_id | alias_name | property_right | property_unit | qualitor | china_tower_address_code | related_dc | airconditioner_power | equipment_power | lifecycle_status | cutin_date | standardaddress | service_site_type | retire_time | share_attribute | 5G_flag | qr_code_no | project_code | project_name | asset_address_code | floor_num | if_tele_cmn_serv | tele_cmn_serv_pro_code | tele_cmn_serv_pro_name | res_tag | district_uuid | site_uuid | maintain_company_uuid | asset_uuid | maintenance_manager | maintenance_phone | geography_type | poi_code | poi_origin | maintain_server_level | contact_phone | accessNetSheetNo | adjustSheetNo | quitNetSheetNo | remark | create_by | create_time | update_by | update_time | data_source | day
| 9e4b778c7f144589b83ec836e7b56440 | 崇左扶绥县崇左市扶绥县理昂生物质发电有限公司企业宽带-GF0007全业务位置点 | 全业务位置点 | 108.001779 | 22.473739 | 广西崇左扶绥县山圩镇桂垦社区居民委员会山圩镇理昂生物质发电公司企业宽带4楼过道左侧吊顶靠近广电箱旁侧墙7号箱 | 广西 | 崇左 | 扶绥 |  | 其他 | 中国移动 | admin |  |  | 0.0 | 0.0 | 在网 | 2023-10-16 | 075ea72523e84c7282bb4108162a2a59 | 综合位置点 |  | 其他 | [6 empty] | 否 |  |  | 45142102039e4b778c7f144589b83ec836e7b56440 | 扶绥 |  | 崇左铁通 | [12 empty] | admin | 2023-10-16 09:18:03 | admin | 2025-11-23 12:12:15 | 在线设计 | 2026-01-21
RM_AREA_ROOM_20260121.csv | int_id | zh_label | lifecycle_status | related_site | equiproom_type | equiproom_level | province_id | city_id | county_id | alias_name | property_right | property_unit | cutin_date | qualitor | room_area | floor_num | shared_unit | china_tower_station_code | china_tower_room_type | row_num | column_num | start_row | end_row | start_column | end_column | length | width | airconditioner_power | asset_address_code | equipment_power | retire_time | 5G_flag | qr_code_no | maintainor_method | height | project_code | project_name | uuid | row_direction | column_direction | china_tower_operations_id | if_tele_cmn_serv | tele_cmn_serv_pro_code | tele_cmn_serv_pro_name | res_tag | district_uuid | floor_position | area | remark | room_state | estate_code | manage_dept | room_source | abbreviation | proprietor_contact | proprietor_phone | lease_term | estate_contact | estate_phone | standard_name | access_room_type | manage_leader | room_manager | room_manager_phone | occupy_rack_poi | room_sub_type | maintain_company | key_kind | maintain_server_level | accessNetSheetNo | adjustSheetNo | quitNetSheetNo | cooperate_unit | room_code | create_by | create_time | update_by | update_time | day
| ROOM-ff8080815070434601517be647c14c95 | 玉林玉州区德兴花园C区基站无线机房 | 在网 | SITE-ff8080815070434601517be62cb84c61 | 无线机房 | 接入 | 广西 | 玉林 | 玉州 |  | 自有自建 | 中国移动 | 2015-12-07 | 李平兴 | 10 | 1 | 无 |  | 其他机房 | [6 empty] | 0.0 | 0.0 | 0.0 | 3326WX00001857 | 1.204 |  |  | 240400010029871278956 | 代维 | 0.0 |  |  |  | 从东到西 |  |  | 否 |  |  | 4509020205ROOM-ff8080815070434601517be647c14c95 | 玉州 |  |  | 室分资源点 | 在用 | YLW10101024 |  | 移动全量自有 | [7 empty] | 未知 |  |  |  |  | 自有 |  |  | 标准服务 |  |  |  | 无 | YLWX00299 |  | 2017-07-26 17:56:27 |  | 2025-07-11 17:20:50 | 2026-01-21
RM_AREA_SITE_20260121.csv | int_id | zh_label | site_type | address | longitude | latitude | province_id | city_id | county_id | alias_name | china_tower_station_code | qualitor | related_dc | floor_number | lifecycle_status | use_corp | cutin_date | standardaddress | service_site_type | project_code | project_name | uuid | if_tele_cmn_serv | tele_cmn_serv_pro_code | tele_cmn_serv_pro_name | district_uuid | res_tag | remark | site_no | floor_count | asset_company | property_contact | property_contact_tel | pinyin_abbr | trans_service_level | facility_status | high_complaint | high_value | fixed_machine_number | special_cover_range | mountain_station_flag | distance_time | abbreviation | geography_type | rent | polling_period | real_longitude | real_latitude | standard_name | maintain_company | accessNetSheetNo | adjustSheetNo | quitNetSheetNo | maintain_mode | importance_level | estate_code | create_by | create_time | update_by | update_time | day
| SITE-ff8080814f29b2f3014f3b182ef32a42 | 桂林灵川县灵龙苑小区小站 | 接入站点 | 广西桂林灵川县灵川镇城西社区灵龙苑小区小站 | 110.319202 | 25.415235 | 广西 | 桂林 | 灵川 |  | 450323010000000149 | 黄华利 |  | 3 | 在网 | 其他 | 2015-08-17 | a6c6225e9de14c328efb4c6b371409ad | 室分及WLAN |  |  |  | 否 |  |  | 灵川 | 4503230204SITE-ff8080814f29b2f3014f3b182ef32a42 | 所在地址=桂林灵川灵龙小区内 |  | 3 | 中国铁塔 |  |  |  | 接入 |  | 否 | 否 | 1 | 无 | 否 |  |  | 县城 |  |  | 0 | 0 | 桂林灵川县灵龙苑小区小站 |  |  |  |  | 代维 | 三级 | GLW10100655 |  | 2015-08-17 17:58:04 | admin | 2025-07-02 19:13:07 | 2026-01-21
RM_ROOM_PROPERTY_20260121.csv | res_code | province_id | city_id | county_id | zh_label | power_room_type | power_related_site_name | space_room_type | battery_backup_time | power_supply_mode | power_supply_type | ac_terminal | ac_config | refrigeration_mode | refer_pue | power_monitor_conf | video_monitor_conf | log_saved_time_month | power_room_name | power_room_id | floor_num | gx_power_site_level | building_order_num | building_name | room_order_num | power_moni_site_name | log_saved_time | battery_backup_time_mi | room_area | power_moni_room_code | whether_camera | whether_infrared | whether_access_control | whether_water_immersion | whether_smoke | whether_temp_humidity | whether_glass_collision | power_site_level | qualitor | maintainor | create_by | create_time | update_by | update_time | day
| 001e77217e2746a1a8c9e37235bd5e05 | 广西 | 柳州 | 柳南区 | 柳州柳南区百草堂药业小站资源点 | 基站机房 | ACCESSPOINT-ff80808150704346015138925a4868d7 | 其他机房 |  | 其他 | 交流220V | 其他 | 其他 | 风冷 |  |  |  |  | 柳州柳南区百草堂药业小站资源点 | 000100020 | 一层 | 普通基站 | 0 |  | 0 |  |  |  |  | 000100020 | 否 | 否 | 否 | 否 | 否 | 否 | 否 | 通信基站 | 韦生武 | 韦生武 | weishengwu | 2022-10-18 15:51:23 | weishengwu | 2022-10-18 15:51:23 | 2026-01-21
RM_SITE_PROPERTY_20260121.csv | res_code | province_id | city_id | county_id | zh_label | power_site_level | power_is_substations | mains_voltage_level | mains_nature | total_mains_number | mains_capacity | mains_configuration_level | total_tank_number | tatal_tank_volume | power_supply | is_attach_idc_room | design_pue | actual_pue | water_cooling_conf | is_cold_storage_install | cold_storage_time | power_monitoring_site_name | mains_backup_method | power_monitoring_site_id | asset_company | cold_storage_duration | power_site_order | gx_power_site_level | qualitor | maintainor | create_by | create_time | update_by | update_time | day
| 006d3d9222ed46449da16659ce3bc15c | 广西 | 河池 | 金城江区 | 河池金城江区王者通讯室分 | 通信基站 | 否 | 380V | 市电转供 | [6 empty] | 否 | [5 empty] | 河池金城江区王者通讯室分 | 单路引入 | SITE-ff808081550297b701560b8b16617dd6 | 其他 |  | 161 | 普通基站 | 严鸣 | 严鸣 | yanming | 2022-09-15 10:51:33 | yanming | 2022-09-20 11:19:11 | 2026-01-21